|  | 临床级生物显微镜 |  |  |
| --- | --- | --- | --- |
|  | CX31-12C04 | Biological Microscope（Made in Philippines） |  |
|  | 显微镜镜体 |  |  |
|  | CX31RBSFA | Microscope including frame, binocular tube, a pair of eyepiece 10X（FN20）, quadruple revolving nosepiece, mechanicalstage（right handle）, Abbe condenser, AS, blue filter, 30W illuminator, 6V30W halogen bulb（1 pc.）, Plan objectives 4X, 10X, 40X, 100Ximmersion oil 8cc. Corresponded to WEEE regulation |  |
|  | 6V30W灯泡 |  |  |
|  | 6V30WHAL | 30W Halogen bulb（Philips No. 5761） |  |
|  | 电源线 |  |  |
|  | UYCP | Power cord |  |
|  | 防尘罩 |  |  |
|  | COVER-015 | Dust cover Type 015 for CX21/31/41（L 450mm x H 460mm） |  |

上海普赫光电科技有限公司显微镜事业部 廖泽民13916956665 www.pooher.com